Presray Corporation

Critical Containment

P.O. Box 200

Wassaic, NY 12592

Phone: (845) 373-9300

Fax: (845) 855 – 8034

www.presray.com

Email: technicalsupport@presray.com

Suggested Specifications For Model FB33

Adjustable Lift-Out Flood Barrier

# Part 1 - General

- 1.01	Description

  - Work Included: Provide flood barrier(s) factory assembled with frame(s) and hardware in accordance with the contract documents.

- 1.02       Standards

  - Comply with the provisions of (as applicable).

1.   AWS Structural Welding Code.

- ASME Structural Welding Code Section IX.

- 1.03       Submittals

  - Manufacturers Data: Submit installation and maintenance instructions for flood barriers.

  - Shop Drawings: Submit shop drawings for flood barriers including dimensioned plans and elevations, sections, connections and anchorage, and parts list.

  - Calculations (Optional): Submit calculations, approved by a qualified engineer, to verify the barrier’s ability to withstand the design pressure loading.

- 1.04       Qualifications

  - Experience: The manufacturer of the flood barrier(s) shall present evidence attesting to at least 5 years of successful experience in the design and manufacture of both the flood barrier and flood barrier seal of the type specified.

# Part 2 - Products

- 2.01	Flood barrier shall be Model FB33 as manufactured by Presray Corporation.

- 2.02	Materials

  - Panel: Carbon steel mechanical tubing.

  - Wall mount Frame:  ASTM A569 Carbon steel (stainless steel optional).

  - Finish: Panel—high solids mastic epoxy painted.  Wall frame: high solids mastic epoxy painted.

  - Seal: Chloroprene solid rubber sheet with closed cell foam outer gasketing.

  - Hardware:

Mounting anchors: Stainless steel when applicable.

Optional:

Multi-Panel Systems with removable mullions between panels for openings too wide to be accommodated by single panel.

- 2.03	Design

  - Flood barrier(s) shall provide an effective seal against the design flood level.

# Part 3 — Execution

- 3.01	Installation

  - Install flood barriers in accordance with manufacturer’s instructions and approved shop drawings.

# Part 4 — Warranty

- 4.01	1-year limited against defects and workmanship from date of shipment.